The VEKA system that is ready for future requirements

Product description

- 82 mm system with innovative multi-chamber geometry for excellent thermal insulation

- Insulation values of up Uw = 0.67 W/(m²K) when using highly insulating triple glazing with Ug 0.4 W/(m²K)

- Glass penetration of 25 mm reduces heat transfer

- Universally suitable for new constructions and house renovation projects

- Wall thickness at the highest RAL quality standard ‘Class A’ (DIN EN 12608)

- Three-level seal keeps out noise, cold, damp and draughts

- Also available as AD system with rebate seal

- Surface finishing with films and skirtings possible